## Cost Comparison
ILDFA vs Foam - Cost Comparison
Hangar Name
Hangar Bay Size: | 100000 | sqft | (Select units from dropdown) | sqft
m2
Disclaimer: This comparison is intended to provide a high-level estimate only. Do not rely on this document for detailed cost estimation. Involvement from the manufacturer, contractor, and licensed engineering professionals is required to ensure that accurate pricing and scope are determined for each specific hangar project.
Orange Cells filled by Safespill
Blue Cells filled by Client
The numbers provided in the columns below can be adjusted
| Safespill/ILDFA | F3 Grate Nozzle System | High Expansion Foam
FIRE PROTECTION SYSTEM
Floors | Included in Safespill Scope | Not applicable | Not applicable
Liquid Detection | Included in Safespill Scope | Not applicable | Not applicable
Flushing System | Included in Safespill Scope | Not applicable | Not applicable
Booster Pump for Flushing | Included in Safespill Scope | Not applicable | Not applicable
Trenches | Included in Safespill Scope | 0 | 0
Structural Trench Lids | Included in Safespill Scope | Not applicable | Not applicable
Control Panel | Included in Safespill Scope | 0 | 0
Engineering | Included in Safespill Scope | 0 | 0
Delivery | Included in Safespill Scope | 0 | 0
Supervision of Installation | Included in Safespill Scope | 0 | 0
Grate Nozzles | Not applicable | 0 | 0
Cast Iron Trench Grates | Not Applicable | 0 | 0
Foam Generators | Not Applicable | 0 | 0
Bladder Tanks | Not applicable | 0 | 0
Concentrate Pumps | Not applicable | 0 | 0
Foam Concentrate | Not applicable | 0 | 0
Valves & Piping | Included in Safespill Scope | 0 | 0
Manual Pull & Abort Stations | Not applicable | 0 | 0
Draft Curtains | Not applicable | 0 | 0
System Extension for Column Protection | Not applicable | 0 | 0
Base System Cost | 0 | 0 | 0
Installation Labor | 0 | 0 | 0
Subtotal | 0 | 0 | 0
STUCTURAL MODIFICATION FOR CEILING MOUNT OF HI-EX GENERATORS
Additional Roof Reinforcement for Supporting Generators | Not Applicable | Not Applicable | 0
Roof Penetrations and Air Vents for Outside Air | Not Applicable | Not Applicable | 0
Electrical Labor/Door Modification for Automatic Closing | Not Applicable | Not Applicable | 0
Electrical Labor for Automatic Roof Vents | Not Applicable | Not Applicable | 0
Sealing doors/windows to prevent foam leakage | Not Applicable | Not Applicable | 0
Subtotal | Not Applicable | Not Applicable | 0
CONCRETE MODIFICATION FOR TRENCHES
Concrete Cutting | 0 | 0 | 0
(PFAS Contaminated) Concrete disposal | 0 | 0 | 0
Soil excavation | 0 | 0 | 0
(PFAS Contaminated) Soil disposal | 0 | 0 | 0
New concrete reinforcement labor | 0 | 0 | 0
New concrete reinforcement material | 0 | 0 | 0
New concrete pour | 0 | 0 | 0
Subtotal | 0 | 0 | 0
SLAB MODIFICATION NEEDED TO ACHIEVE 0.5%/0.3 degree SLOPE TO MEET CODE REQUIREMENTS
Concrete grinding | Achieved through floor shimming - Included in Safespill Scope | 0 | 0
New concrete forming |  | 0 | 0
Subtotal | Not Applicable | 0 | 0
FLOOR TOP SURFACE TREATMENT OR REPAIR TO ACHIEVE ANTI-SLIP
Concrete polishing/sanding | Not applicable | 0 | 0
Epoxy coating (3-5 coat) | Not applicable | 0 | 0
Coating labor | Not applicable | 0 | 0
Subtotal | Not Applicable | 0 | 0
FLAME DETECTION
Flame Detectors | Not applicable | 0 | 0
Wiring and electrical components | Not applicable | 0 | 0
Electrical installation labor | Not applicable | 0 | 0
Fire alarm integration | Not applicable | 0 | 0
Subtotal | Not Applicable | 0 | 0
CONTAINMENT TANK / OIL WATER SEPARATOR
Containment/Drainage Type | Above-Ground Tank | Underground Tank and OWS | Underground Tank and OWS
Excavation Cost | 0 | 0 | 0
Remediation/disposal cost of excavated concrete and soil | 0 | 0 | 0
Tank Size in Gallons | 0 | 0 | 0
Containment Tank/OWS cost | 0 | 0 | 0
Diverter Valves | Included in Safespill Scope | 0 | 0
Level Monitoring System | Included in Safespill Scope | 0 | 0
Placement Cost by Crane | 0 | 0 | 0
Subtotal | 0 | 0 | 0
DISCHARGE PUMP (if aboveground containment tank is utilized)
Power Requirement Estimate for pump | 50 HP | Not applicable | Not applicable
Building's panel or transformer upgrade | Not Applicable (amps available from existing) | Not applicable | Not applicable
Pump Cost | 0 | Not applicable | Not applicable
Routing power supply to pump skid | 0 | Not applicable | Not applicable
Subtotal | 0 | Not Applicable | Not Applicable
FIRE PUMPS
Power Requirement Estimate for pump | Not applicable | 0 | 0
Building's panel or transformer upgrade | Not applicable | 0 | 0
Fire Pumps Cost | Not applicable | 0 | 0
Fire Pumps Controller | Not applicable | 0 | 0
Routing power supply to pumps | Not applicable | 0 | 0
Mechanical Room Construction/renovation Cost | Not applicable | 0 | 0
Subtotal | Not Applicable | 0 | 0
WATER REQUIREMENTS
System Water Requirement | 200 GPM | 16000 | 5000
Water Supply tank | Not applicable
Piping Estimate From Nearest Water Main to the Hangar
PIPE LENGTH | Not applicable (low water demand) | 0 | 0
DIAMETER |  | 14" | 8"
Piping Estimate From Nearest Water Tie-In Point Within Utility Room to System Tie-In Point in Hangar
PIPE LENGTH | 0 | 0 | 0
DIAMETER | 3" | 14" | 8"
Piping Cost (two previous line items) | 0 | 0 | 0
Additional piping for distribution within the system (Note: See NFPA 11 for required material types for foam solution piping) | Included in Safespill Scope | 0 | 0
Subtotal | 0 | 0 | 0
COMMISSIONING
Clean-up/Disposal costs for discharged foam | Not applicable, only water is used | 0 | 0
Foam Concentrate Replacement (post test) | Not applicable, no foam used | 0 | 0
Subtotal | Not Applicable | 0 | 0
HANGAR DOWN TIME (DURING INSTALL)
Days of downtime of entire hangar | 0 | 0 | 0
Days of downtime of partial hangar area | 0 | Not applicable | Not applicable
Cost of downtime per day (loss of hangar revenue) | 0 | 0 | 0
Subtotal | 0 | 0 | 0
WARRANTY/INSPECTION/MAINTENANCE 10 YEARS
Spare parts | Included in Safespill Scope | 0 | 0
Spare part replacement labor | Included in Safespill Scope | 0 | 0
Inspections (every 6 months) | Included in Safespill Scope | 0 | 0
Preventative Maintenance | Included in Safespill Scope | 0 | 0
Subtotal | Included in Base System Cost | 0 | 0
CODE COMPLIANCE TESTING & TRAINING
Annual Foam Testing & Fluorine Sampling | Not applicable | 0 | 0
Spill Response Emergency Drill Costs | Not applicable | 0 | 0
Annual Specialized foam training | Not applicable | 0 | 0
Subtotal | Not Applicable | 0 | 0
COST OF ACCIDENTAL DISCHARGE
Damage to aircraft | Not applicable | 0 | 0
Injury/Fatality to personnel | Not applicable | 0 | 0
Downtime of the hangar | Not applicable | 0 | 0
Refill cost of foam concentrate | Not applicable | 0 | 0
Disposal Fees from foam chemical discharge | Not applicable | 0 | 0
Hangar/Equipment Cleanup cost | Not applicable | 0 | 0
Reputational damage to end user | Not applicable | 0 | 0
Reputational damage to hangar operator | Not applicable | 0 | 0
Cost of potential environmental fines | Not applicable | 0 | 0
Cost of potential environmental law suits | Not applicable | 0 | 0
Cost of potential health related law suits | Not applicable | 0 | 0
Cost of potential injury/fatality related law suits | Not applicable | 0 | 0
Subtotal | Not Applicable | 0 | 0
50 YEAR LIFE CYCLE COST
First 10 years | Included in Safespill Scope | 0 | 0
Years 11-20 | 0 | 0 | 0
Full system replacement at 21 years | Not applicable | 0 | 0
Years 21-50 | 0 | 0 | 0
Subtotal | 0 | 0 | 0
TOTAL | 0 | 0 | 0

## 50-Year LCCA (hidden)
PASTE LCCA FROM PRELIM